|  |  |  |  |
| --- | --- | --- | --- |
| Date: 05-18-2019 | | | No. 0000083 |
| **Department/ Section: Manufacturing/Style** | | | |
| Nature of problem: APC Backup UPS 625 VA | | Incident Report No. 1000133 | |
| **Cause:**   * The existing unit has a malfunction cannot be stored a power supply. * The battery of the Ups is not working always have beep sounds. * Overheat. | | | |
| Work Done | | | |
| * Check all the input power cord in the Ups. * I also try the UPS into another socket the problem still exist. * Troubleshoot hardware | | | |
| **Parts List For Quotation Replaced For Replacement** | | | |
| **QTY:** | **Description:** | | |
| 1 | APC Backup UPS 625 VA | | |
|  |  | | |
|  |  | | |



**Service Report (MIS)**

**Service by: Checked by:**

Gerard Singian Jerwin Ibañez

**MIS, IT Specialist MIS, Officer in Charge**