|  |  |  |  |
| --- | --- | --- | --- |
| Date: 04-24-2019 | | | No. 0000080 |
| **Department/ Section: MIS** | | | |
| Nature of problem: UPS | | Incident Report No. 1000126 | |
| **Cause:**   * The battery of the Ups is not working. * Problem in storing and supplying an electric charge. | | | |
| Work Done | | | |
| * Check all the input in Ups, and the motherboard capacitor. * I already check the UPS plug into another socket the problem still exist. * Troubleshoot hardware | | | |
| **Parts List For Quotation Replaced For Replacement** | | | |
| **QTY:** | **Description:** | | |
| 1 | Backup UPS 625 VA | | |
|  |  | | |
|  |  | | |



**Service Report (MIS)**

**Service by: Checked by:**

Gerard Singian Jerwin Ibañez

**MIS, IT Specialist MIS, Officer in Charge**